## PW AW Comparison
Student: Zihan Lin | Subsystem: Electrical | Design: Low Cost Design, Lower Lifespan |  |  | Student: Shajijan Narendran | Subsystem: Electrical | Design: Higher Performance, Higher Total Costs |  |  | Student: Jasvin Mand | Subsystem: Electrical | Design: Balanced Costs and Durability
*If in a group of three
Design A |  |  |  |  | Design B |  |  |  |  | Design C
Year | CapEx | OpEx | Monetized benefits | Net cash flow | Year | CapEx | OpEx | Monetized benefits | Net cash flow | Year | CapEx | OpEx | Monetized benefits | Net cash flow
1 | -40031 | -578.12 | 1205.23 | -40349.5834 | 1 | -1791850 | -47280 | 76849 | -1804575.744 | 1 | -55000 | -30000 | 0 | -87040
2 | 0 | -578.12 | 1205.23 | 657.5725 | 2 | 0 | -47280 | 76849 | 31005.3437 | 2 | 0 | -30000 | 87672 | 60473.4751
3 | 0 | -578.12 | 1205.23 | 673.3542 | 3 | 0 | -47280 | 76849 | 31749.472 | 3 | 0 | -30000 | 87672 | 61924.8385
4 | 0 | -578.12 | 1205.23 | 689.5147 | 4 | 0 | -136872.5 | 76849 | -65996.5362 | 4 | 0 | -30000 | 87672 | 63411.0346
5 | 0 | -578.12 | 1205.23 | 706.0631 | 5 | 0 | -47280 | 76849 | 33291.7343 | 5 | 0 | -30000 | 87672 | 64932.8994
6 | 0 | -578.12 | 1205.23 | 723.0086 | 6 | 0 | -47280 | 76849 | 34090.736 | 6 | 0 | -30000 | 87672 | 66491.289
7 | 0 | -578.12 | 1205.23 | 740.3608 | 7 | 0 | -47280 | 76849 | 34908.9136 | 7 | 0 | -30000 | 87672 | 68087.08
|  |  | PW | -34613.6127 | 8 | 0 | -136872.5 | 76849 | -72563.9589 | 8 | 0 | -30000 | 87672 | 69721.1699
|  |  | AW | -6422.6673 | 9 | 0 | -47280 | 76849 | 36604.649 | 9 | 0 | -30000 | 87672 | 71394.4779
|  |  | IRR | -41.14% | 10 | 0 | -47280 | 76849 | 37483.1606 | 10 | 0 | -30000 | 87672 | 73107.9454
[5 empty] | 11 | 0 | -47280 | 76849 | 38382.7565 | 11 | 0 | -30000 | 87672 | 74862.5361
[5 empty] | 12 | 0 | -136872.5 | 76849 | -79784.9166 | 12 | 0 | -30000 | 87672 | 76659.237
[5 empty] | 13 | 0 | -47280 | 76849 | 40247.2372 | 13 | 0 | -30000 | 87672 | 78499.0587
Nominal Annual Discount Rate | 7% |  |  |  | 14 | 0 | -47280 | 76849 | 41213.1709 | 14 | 0 | -30000 | 87672 | 80383.0361
Inflation Rate | 2.4% |  |  |  | 15 | 0 | -47280 | 76849 | 42202.287 | 15 | 0 | -30000 | 87672 | 82312.2289
[8 empty] | PW | -1588154.9007 |  |  |  | PW | 319979.1879
[8 empty] | AW | -174370.8713 |  |  |  | AW | 45557.8377
You are expected to compare the two/three subsystem designs you and your partner(s) developed. | [7 empty] | IRR | -18.85% |  |  |  | IRR | 71.83%
…
Year | Cash Flow Difference Design C-Design A
1 | -46690.4166
2 | 59815.9026
3 | 61251.4842
4 | 62721.5199
5 | 64226.8363
6 | 65768.2804
7 | 67346.7191 |  |  | Exercise 3 Discussion: IRR increased for all three designs when inflation was added, with values shifting from -43% to -41%, -21% to -19%, and 69% to 72%. This pattern suggests that the monteized benefits are more sensitive to inflationary growth than the costs. While the Present Worth (PW) and Annual Worth (AW) for Designs A and B decreased (becoming more negative), both metrics for Design C increased. This was because Design C was the only design that had an initially profitable PW and AW; asa result, the inflationary growth of the benefits outpaced the inflating costs. The IRR results strongly support the conclusions drawn from the PW and AW analysis. The 130% incremental IRR (derived from the cash flow difference between the best and worst designs) confirms that the investment required for Design C is most profitable. The agreement between all three metrics (PW, AW, and IRR) provides a high level of confidence that the economic ranking of the alternatives is stable. |  |  |  |  | Exercise 4 Discussion: Key Shared Assumptions The group has aligned on a security system model requiring 24/7 uptime over a 15-year service life. Major cost drivers include hardware procurement and installation, annual electricity costs, and routine maintenance, with all designs requiring an on-site storage server. Implementation timing is standardized at less than one year, ensuring that capital outlays occur in Year 1 and system benefits begin in Year 2. Interface Issues and Agreed Adjustments A significant economic mismatch was identified between the Software and Electrical subsystems regarding labor requirements. The Software team’s model included the salary for a network engineer to manage the system, while the Electrical team assumed a completely autonomous operation with zero labor costs. To resolve this, the group agreed to adjust all models to a semi-autonomous assumption, replacing the full-time engineer with a standardized part-time service contract. This minor adjustment will be applied consistently across all alternatives to ensure an accurate and aligned comparison during the upcoming risk and sensitivity analysis.
IRR of Cash Flow | 129.5%
Introducing inflation and IRR reveals critical economic sensitivities regarding the "real" versus "nominal" growth of the project. The primary risk identified is reinvestment risk; an IRR of 72% (and an incremental IRR of 130%) assumes that the large cash flows generated in the early years (starting at over $59,000 in Year 2) can be reinvested into other projects. Furthermore, the results reveal a sensitivity to operating leverage because Design C is the only one where the magnitude of PW/AW increased, it suggests its benefits are structurally better positioned to act as an inflation hedge compared to Designs A and B. Selected Primary Design: Design C (72% IRR) Justification: We are carrying forward Design C as the Primary Design. It is the only design that is economically viable, with a 72% IRR that improved after inflation was accounted for. While the magnitude of losses for Designs A and B worsened with inflation, Design C’s PW and AW increased, demonstrating that its benefit-to-cost ratio is resilient. The 130% incremental IRR further justifies this choice, showing that the extra capital spent on this design yields a return far exceeding any standard MARR, making it the most logical candidate for the upcoming detailed risk analysis.